# Barlow Water Improvement District

System Report

For February 2024 Board Meeting

#### January 2024 Water Pumped - Physical readings taken on 02/29/2024 (from 01/25/2024).

#### Well #2 –  Not in operation during this period

Well #4 –  Not in operation during this period

Well #6 -   2,226,234 gallons –  150.7 hrs – 246 gpm

Well #7-    Not in operation during this period

Total  -       2,226,234 gallons –  150.7 hrs

Average daily use – 63,606 gallons (35 Days)

Energy Cost January 2024 – $1354.42 – total KWH 9,585. Total demand charges - $504.53 (well #6 & #7).

Average daily use January 2023 – 52,310.78 gallons (28 days)

Energy Cost January 2023 - $1307.05 – total KWH 10,793. Total demand charges- $171.52 (well #4).