# Barlow Water Improvement District

System Report

For May 10, 2025 Board Meeting

#### April 2025 Water Pumped - Physical readings taken on 04/30/2025

#### Well #2 – NOT IN OPERATION

Well #4 – NOT IN OPERATION

Well #6 – 3,260,535 gallons - 222 hrs – 14,687gpm

Well #7-   NOT IN OPERATION

Total -    3,260,535    222 hrs

Average daily use – 112,432 gallons (29days)

- Energy Cost April 2025 – $1576.37 – total KWH 12,193 | Total demand charge $314.24 Well # 6

Energy Cost April 2024 - $1755.69 | KHW 9468 | Total demand charge $238.18 (credit)

Well # 7 and $491.25 for well #6 (no credit)