# Barlow Water Improvement District

System Report

For August 9, 2025 Board Meeting

#### July 2025 Water Pumped - Physical readings taken on 08/08/2025

#### Well #2 – NOT IN OPERATION

Well #4 – NOT IN OPERATION

Well #6 – 7,914,600 gallons – 19624 hrs – 244gpm

Well #7-   2,609,000 gallons – 7548 hrs – 211gpm

Total   10,523,600 – 27,172 hrs

Average daily use – 244,734 gallons (43 Days)

- Energy Cost July 2025 – $3602.43 – | KWH 32458 | Total demand charge $539.31 Well # 6 and Well #7

Energy Cost July 2024 - $4306.97 | KHW 39655 | Total demand charge $799.33

Well#6, Well #7 and Well#2